## Slide 1
How To Use The Functions
NEXT
plus

## Slide 2
NEXT
Ez3D-plus
Basic Functions
Print & Report
Implant Simulation

## Slide 3
Basic Functions
NEXT
plus

## Slide 4
Start Ez3D-plus from EasyDent4
Start Ez3D-plus from the Desktop
Click x 2!!
①
Click!!
①
Click!!
③
Click!!
②
NEXT
Click x 2!!
①

## Slide 5
Main Screen
Menu Bar
All functions of Ez3D plus are provided in a pull down menu classified by category.
Tool Bar
The tool bar provides the user with the most commonly used tools among the menu functions.
View Mode
View Mode consists of MPR, Oblique, 3D Zoom, Curve, Cephalo, and TMJ Mode.
NEXT

## Slide 6
ID : 20140315_0001
Mary Jane [W] 27
19880527
Series : 999
7.4 [mA]
90.0 [kVp]
CT
Main Window - MPR
Image View
Title Bar
The title bar represents the direction of the current cross sectional image being displayed.
Sub Tools
User can flip, enter Multi-Slice
View, and Maximize the image.
Patient
Information
Directional
Information
Grid
Indicates the length of a marked area.
Guide for patient orientation
Indicates the direction of an image.
Guide for patient orientation
Displays image capture information like mA and
kVp at the time of when image was taken.
NEXT

## Slide 7
Main Window - 3D
H
F
A
P
L
R
3D Image Direction Initialization
H
F
A
P
L
R
Reset To Head View
Reset To Foot View
Reset To Anterior View
Reset To Posterior View
Reset to Left View
Reset To Right
HFAPLR
NEXT

## Slide 8
Description of Tools (1/3)
Add memo in the image.
Note
Perform drawing in the image.
Free Draw
Draw polygon and partition
the image.
Polygon
Specify opacity value and partition
the image.
Opacity
Specify threshold value and partition
the image.
Threshold
Apply the performance result of
Segmentation to Axial, Sagittal and
Coronal image.
Apply Mask
Reset all sculpted or masked anatomy.
Reset Mask
Automatically separate the Maxillary
and Mandible areas of the 3D image.
Maxillary
/Mandible
Draw curve and show Panorama View.
Manual
Curve
Measure the length between two
points in the image.
Length
Measure the length between two
points in the image.
Tapeline
Measure angle in 2D image.
2D Angle
Measure angle in 3D image.
3D Angle
Measure bone density between two
points in the image.
Profile
Measure bone density of selected area.
ROI
Measure the size of selected area.
Area
Show the volume information of selected area.
Volume
Draw an arrow in the image.
Arrow
NEXT

## Slide 9
Description of Tools (2/3)
Save and manage the curve.
Curve
Manager
Draw canal.
Draw Canal
Draw canal manually.
Draw Canal
Insert single implant.
Insert
Implant
Save image pane/whole image
as image file.
Capture
Prepare a report on simple image
analysis and treatment planning.
Counsel
Save current image/case to CD/DVD.
CD/DVD
Burning
Export the patient’s data using CD, etc.
Memory
Export
Enable the Volume data, which makes up the 3D image, to form a mesh data (STL file) that can be uploaded to other 3D Viewers.
STL
Export
Export the reformatted volume.
Export:
Reformatted
Volume
Import a panoramic image from EasyDent4.
Panorama
Import
Adjust 3D image.
Fine Tuning
Manage settings of the program.
Setting
NEXT

## Slide 10
Initialize the mouse function.
Select
Move the image up/down and
left/right.
Panning
Revert to previous state.
Undo
Restore back to previously canceled
work.
Redo
Delete the tools for measure
annotation.
Delete
Return to initial status of image.
Select
Rotates an image
two-dimensionally.
Rotating
Zoom in/out on image.
Zooming
Invert color and brightness of
all images.
Invert
Adjust the brightness and contrast.
Windowing
Adjust coloring of the image.
Coloring
Show the cross sectional view of
selected image from image pane.
Oblique
Enlarge/reduce 3D image of
selected area.
3D Zoom
Show/hide patient’s information.
Study Info
Show volume information of
selected area.
VOI
Provide three different filters to
2D image: smooth, sharpen and
unsharpen (sharpen more).
Apply Filter
Description of Tools (3/3)
NEXT

## Slide 11
Coronal - The yellow slice is the vertical cross-section viewed from the front.
Sagittal - The orange slice is the vertical cross-section viewed laterally.
Axial – The green slice is the horizontal cross-section viewed from bottom to top.
Adjust the Axis of the 2D Image(1/2)
Coronal
Sagittal
Axial
NEXT

## Slide 12
1
2
2
3
3
① Adjust Two Axes Simultaneously
Place the mouse cursor to the point where two axes intersect, the cross cursor will appear.
② Adjust One Axis
Place the mouse cursor on one axis. Then click and drag to move the axis of the selected tooth.
③ Rotate the Axis
Place the mouse cursor on an end point of the axis. Then click and drag to adjust the axial direction of the selected tooth.
Adjust the Axis of the 2D Image(1/2)
Play
NEXT

## Slide 13
Adjust the Fine Tuning
Click!!
①
Click!!
②
① On the menu bar, click Tools → Fine Tuning.
② Click Coloring, the coloring control panel
will appear.
Play
NEXT
Fine tuning adjustments include:
1. density segmentation
color range
opacity

## Slide 14
Measure the distance between two selected points in [mm] on the image.
① On the menu bar, click Measure → Length or click the
Length icon from the measure tool bar.
② Two sub tools will appear, as shown in image below.
2D will display the measurement on the current 2D
window.
③ Click the two points to measure distance between start
and end point.
Length
Play
NEXT

## Slide 15
① On the menu bar, click Measure → Profile or
click the Profile icon in the measure tool bar.
② Select two points between start and end points.
Profile
Play
NEXT

## Slide 16
This tool provides the user with statistics on a specific region of interest.
① Click Measure → ROI or click the ROI icon on the
measure tool bar.
② Two sub tools will appear.
③ Point and click on the initial point and drag to expand the
area, then click on the second point.
ROI – Region of Interest
Play
NEXT

## Slide 17
Oblique View is for viewing the cross sectional image of a specific area in an MPR view window.
① Click View → Oblique, or click the Oblique icon on the View tool bar.
② Click on the area within the image.
③ Then move the mouse to desired size and click once again.
④ The View mode will be converted to Oblique mode on the screen.
In Oblique mode, users can modify the size of the view area, center pan, change view direction, and/or adjust thickness.
Oblique
Play
NEXT

## Slide 18
Memo - Note
To input a note on the image, click on the desired area.
A dialog box will appear.
① On the menu bar, click Annotation → Note, or click the
Note icon on the Annotation tool bar.
Click!!
①
This is note for memo.
And it is possible to save each patient.
Click!!
②
Play
NEXT

## Slide 19
The Free Draw function can be utilized for both representations and patient consultations. You can use this feature via a mouse or an electronic pen.
① On the menu bar, click Annotation → Free Draw, or click
the Free Draw icon on the Annotation tool bar.
Free Draw
Play
NEXT

## Slide 20
Implant Simulation
NEXT
plus

## Slide 21
① Click the ‘Panoramic Curve’ button and then
click the ‘Manual’ button.
Click!!
Click!!
Click x 2!!
② Draw the Panoramic Curve.
Cross-Sectional
NEXT
Play

## Slide 22
Click!!
Click!!
Click x 2!!
① Click the ‘Draw Canal’ button and then
click the ‘Manual’ button.
② Draw the Canal.
Canal Drawing
NEXT
Play

## Slide 23
① Click ‘Implant Simulation’ and then ‘Insert
Single Implant’.
② Select an Implant from the Implant
Library and click “insert”.
Click!!
Click!!
Implant Simulation
NEXT
Play

## Slide 24
Print & Report
NEXT
plus

## Slide 25
Print - Window
Click!!
①
Print Icon
on the Tool bar
Selection
Print menu changes according
to the view mode created
in Ez3D plus.
Invert Image
When this box is checked,
only the image will be inverted
Calibration
To prevent incorrect scales on
the image, this function
calibrates them to the correct
scale with a test print page.
Print info
Input the user information,
clinic, doctor-in-charge, and
header and footer information
for printing.
Print Setup
Modify paper layout and
direction.
Page Setup
Setup a basic print layout form.
NEXT

## Slide 26
Print - DICOM
① Click to File → Print. Print window pop up will appear.
② Click DICOM Tab on the print window.
③ Click ‘Print’ button on the print window.
④ Now Sending window pop up will appear.
Click!!
①
Click!!
②
Click!!
③
Now Sending
NEXT

## Slide 27
Print - Report
① Click to File → Print. Popup the print window
② Click to Report Tab on the print window
③ Click to Template icon. Popup the template window
④ Select which is using a form
⑤ Appear the selected form.
Adding the image from Ez3D Plus
⑥ Click to Next button if finished to make the report.
Click!!
①
Click!!
②
Click!!
③
Click!!
④
Click!!
⑤
Click!!
⑥
Click x 2!!
⑦
Click!!
⑧
NEXT

## Slide 28
Thank you
FAQ